Facility Site Plan and Storage Map Instructions

(Hazardous Materials Business Plan Module)

A Site Plan and Storage Map must be included with your HMBP.  For relatively small facilities, these documents may be combined into one drawing. Since these drawings are intended for use in emergency response situations, larger facilities (generally those with complex and/or multiple buildings) should provide an overall site plan and a separate storage map for each building/storage area.  A blank Facility Site Plan/Storage Map sheet has been provided on the next page, followed by two examples.  You may complete the blank map page provided or attach any other drawing(s) that contain(s) the information required below. Note: This is to be used in emergency situations so please take the time to prepare a complete and easily readable map.  If completing the Word version of this plan on your computer, you may be able to complete your map by using the draw functions and cutting and pasting the symbols in the legend. You will need to unprotect the document under Tools. The blank map by itself is also available on our website.

# 1.	Site Plan :  This drawing shall contain, at a minimum, the following information:

a.	An indication of North direction;

b.	Approximate scale (e.g. “1 inch = 10 feet”.);

c.	Date the map was drawn;

d.	All streets bordering the facility;

e.	Locations of all buildings and other structures;

f.	Parking lots and internal roads;

g.	Hazardous materials loading/unloading areas;

h.	Outside hazardous materials storage or use areas;

i.	Storm drain and sanitary sewer drain inlets;

j.	Wells for monitoring of underground tank systems;

k.	Primary and alternate evacuation routes, emergency exits, and primary and alternate staging areas.

# 2.	Storage Map :  The map(s) shall contain, at a minimum, the following information:

a.	General purpose of each building and section/area within each building (e.g. “Office Area”, “Manufacturing Area”, “Generator Room”, etc.);

b.	Location of each hazardous material/waste storage, dispensing, use, or handling area (e.g. individual underground tanks, aboveground tanks, storage rooms, paint booths, etc.).  Each area should be identifiable by a Grid Number, to be used in item 204 on the Hazardous Materials Inventory Pages of the Business Plan. The locations of all hazardous materials/wastes must be clearly identified on your storage map. Names of storage locations must be listed on your map if provided in the material location section (201) of your inventory forms.

c.	For tanks, label the capacity limit in gallons and common name of the hazardous material in each tank.

d.	Entrances to and exits from each building and hazardous material/waste room/area;

e.	Location of each utility emergency shut-off point (i.e. gas, water, electric.), and Fuel Shut-off.

f.	Location of each monitoring system control panel (e.g. underground tank monitoring)

g.	Locations of fire extinguishers/hoses, absorbent materials/spill kits, eye washes/safety showers, etc.

h.	To satisfy hazardous waste generator requirements: Note the names and off-site contact numbers for the Emergency Coordinator(s)(This person is defined in the Emergency Response plan); “Contact 911 in case of emergency” must be written on map; Post map near telephones.

# Text boxes

A

B

C

D

E

F

G

H

I

J

K

L

M

N

O

P

Q

R

S

T

U

V

W

X

Y

Z

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

IN CASE OF EMERGENCY CALL 911

FACILITY SITE PLAN/STORAGE MAP

(separate maps may be needed for appropriate level of detail)

B

E

G

W

E



E W

xxxx

FH

H

F

AS

MSDS

PPE

PT

Air Compressor

P

High

Voltage

TRASH

Alignment Rack

Emergency Coordinators:

Name:___________________Phone#_________________

Name:___________________Phone#_________________

es

Door

Overhead Rollup Door

Exterior Wall

Interior Wall

Driveway-Entry/Exit

Utility-Electric Main

Utility-Gas Main

Utility-Water Main

Emergency Shutoff

Emergency Exit

Evacuation

Assembly area

Eye Wash

Fence

Fire Dept. Connection

Fire Hose

Fire Hydrant

Fire Extinguisher

Sprinkler System Valve

Batteries

Absorbent

Hoist

Material Safety Data Sheet

Medical/First aid Kit

Personal Protective Equipment

Pressurized Tank

Railroad Tracks

Sewer Drain

Storm Drain

Shower/ Eye Wash

Stairs

Aboveground Storage Tank (with capacity)

Underground Storage Tank (with capacity)

Propane Tank

Air Compressor

North Arrow

High Voltage Box

Building/ Roof Support Post

Trash

Alignment Rack

Site Name:

Address: